## Risk Assessment Approvals
CommonSpirit's Clinical Laboratory Biosafety Risk Assessment for COVID-19 Testing
Laboratory Name:
CLIA#:
Laboratory Medical Director:
Laboratory Administrative Director/Designee:
Assessment Completed by:
Date of Assessment:
Review and Approval:
I have reviewed the risk assessment that was conducted for the laboratory. I approve the procedures/measures that have been put in place to reduce/mitigate risk of injury to personnel for the collection, handling, processing, testing and/or shipping of suspected and confirmed SARS-COV-2 patient specimens
| ________________________________________________ | _______________________
| Laboratory Medical Director | Date
Distributed by Karen Smith, VP Laboratory Services March 24, 2020

## Risk Assessment Checklist
| Laboratory Name & CLIA#: | Laboratory Address: |  | Date of Assessment: Assessment Completed by:
CommonSpirit's Clinical Laboratory Biosafety Risk Assessment for COVID-19 Testing
The following checklist is used to assist laboratory leadership in identifying and mitigating the biosafety risk associated with COVID-19 laboratory collection, handling, and/or testing. Laboratories testing for COVID-19 will follow CDC's Interim Laboratory Biosafety Guidelines for Handling and Processing, and testing Specimens associated with Coronavirus Disease 2019 (COVID-19).
Reference: CDC Guidelines: https://www.cdc.gov/coronavirus/2019-nCoV/lab/lab-biosafety-guidelines.html
Instructions: Complete the risk assessment checklist initially and when there are changes in reagents, procedures, equipment, or staff. Answer each question and define the risk associated with each answer. If risk is identified as high, in the comment section indicate action plan put in place to mitigate/lower the risk.
Low Risk = The laboratory has a process in place to mitigate risk to injury |  |  | Risk Level | Comments/Mitigation Measures
High Risk = The laboratory does not have a process in place to mitigate risk to injury. A Action is required to mitigate risk.
Section I: Specimen Collection & Processing Risks
1. Does the clinical staff and the laboratory have a process in place to timely communicate between each party to minimize the risk incurred in handling specimens from patients with possible SARS-COV-2 infection? If Yes, risk is low, If No, risk is high
2. Are specimens labeled according to laboratory policy and procedure and is the laboratory alerted to ensure proper specimen handling? If Yes, risk is low, If No, risk is high
3. The laboratory follows Standard Precautions when collecting & handling clinical specimens, all of which may contain potentially infectious materials. Standard precautions include: hand hygine, use of PPE to include, laboratory coats or gowns, gloves, eye protection. If Yes, risk is low, If No, risk is high |  |  |  | List PPE used for collection & handling:
Section II: Procedure Risks
1. Is the laboratory that is performing diagnostic testing for COVID-19 a Biosafety Level 2 (BSL-2) laboratory? If Yes, risk is low, If No, risk is high. Testing must be performed in a BSL-2 laboratory. Note: If you are not performing test and are sending specimens out for testing to a reference lab or the CDC, please indicate N/A and in the comment section indicate send out.
2. The laboratory follows Standard Precautions when handling and testing clinical specimens, all of which may contain potentially infectious materials. Standard precautions include: hand hygine, use of PPE to include, laboratory coats or gowns, gloves, eye protection. If Yes, risk is low, If No, risk is high |  |  |  | List PPE used for testing:
3. The laboratory follows manufacturer's instructions for testing. If Yes, risk is low, If No, risk is high In the Comment Section list manufacturer for testing |  |  |  | Manufacturer:
4. The laboratory uses a certified Class II Biological Safety Cabinet (BSC). If Yes, risk is low, If No, risk is high. In the Comment Section list the safety precautions in place |  |  |  | Safety precautions in place:
5.The laboratory follows routine laboratory practices and procedures and uses EPA-registered hospital disinfectants with label claims to be effective against SARS-CoV-2 for decontamination of work surfaces? Follow manufacturer’s recommendations for use, such as dilution, contact time, and safe handling. If Yes, risk is low, If No, risk is high. List your disinfectant in the comment section |  |  |  | Disinfectant used in the laboratory:
List N: Disinfectants for Use Against SARS-COV-2
Section III: Facility & Equipment Risks
1. The floor plan of the laboratory where testing is taking place has been assessed and there is a low risk of injury (things to consider space, benchtop, total # of employees working in 1 area) If Yes, risk is low, If No, risk is high
2. The Biological Safety Cabinet is maintained as required by manufacturer and staff are trained on the proper use. Its location is not creating a risk of injury (i.e. located where lots of personnel traffic, crowded, etc.) If Yes, risk is low, If No, risk is high
3. If the laboratory will be performing high testing volumes which may increase the likelihood to generate infectious droplet and aerosols, the laboratory has determined if additional biosafety precautions are warranted i.e. workflow testing, additional PPE use, faceshields, speration of testing areas. If Yes, risk is low, If No, risk is high. If yes, indicate additional measures in the comment section
Section IV: Staff Capability Risks
1. Has personnel that will be collecting sample received training on safety of collection, handling, and/or processing samples If Yes, risk is low, If No, risk is high
2. Has testing personnel received training on safety of handling, processing and testing of samples If Yes, risk is low, If No, risk is high
3. Has testing personnel received training on safely testing of samples If Yes, risk is low, If No, risk is high
Section V: Packaging and Shipping Risks
1. If the laboratory packs and ships suspected and confirmed SARS-COV-2 patient specimens, the laboratory ships in accordance to the International Air Transport Association (IATA) Dangerous Goods and Regulations. If Yes, risk is low, If No, risk is high
2. Personnel packing and shipping suspected and confirmed SARS-COV-2 patient specimens has received training If Yes, risk is low, If No, risk is high

## Sheet1
Low
High
None
N/A